## Sheet1
Time(15 min) | Time(h) | Load(kW) | Process | Process | Heat Load(kW) | Temperature(℃)
1 | 0 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
2 | 0 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
3 | 0 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
4 | 0 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
5 | 1 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
6 | 1 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
7 | 1 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
8 | 1 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
9 | 2 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
10 | 2 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
11 | 2 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
12 | 2 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
13 | 3 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
14 | 3 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
15 | 3 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
16 | 3 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
17 | 4 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
18 | 4 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
19 | 4 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
20 | 4 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
21 | 5 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
22 | 5 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
23 | 5 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
24 | 5 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
25 | 6 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
26 | 6 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0 | 77
27 | 6 | 8 | prepare for brewing | baseload, pre-heat | 0 | 77
28 | 6 | 8 | prepare for brewing | baseload, pre-heat | 0 | 77
29 | 7 | 8 | prepare for brewing | baseload, pre-heat | 0 | 77
30 | 7 | 8 | mash | baseload, heating, pump | 51.62
31 | 7 | 8 | mash | baseload, heating, pump | 51.62
32 | 7 | 8 | mash | baseload, heating, pump | 51.62
33 | 8 | 8 | mash | baseload, heating, pump | 51.62
34 | 8 | 8 | mash | baseload, heating, pump | 51.62 | 66.3
35 | 8 | 8.6 | sparge | baseload, heating, pumps(TWO) | 87.37 | 77
36 | 8 | 8.6 | sparge | baseload, heating, pumps | 87.37
37 | 9 | 8.6 | sparge | baseload, heating, pumps | 87.37
38 | 9 | 8.6 | sparge | baseload, heating, pumps | 87.37
39 | 9 | 8.6 | sparge | baseload, heating, pumps | 87.37
40 | 9 | 8.6 | sparge | baseload, heating, pumps | 87.37
41 | 10 | 8.6 | sparge | baseload, heating, pumps | 87.37
42 | 10 | 8.6 | sparge | baseload, heating, pumps | 87.37
43 | 10 | 8.6 | sparge | baseload, heating, pumps | 87.37
44 | 10 | 8.6 | sparge | baseload, heating, pumps | 87.37 | 90
45 | 11 | 8.6 | heating | baseload, heating, pumps | 22.04
46 | 11 | 8.6 | heating | baseload, heating, pumps | 22.04
47 | 11 | 8.6 | heating | baseload, heating, pumps | 22.04
48 | 11 | 8.6 | heating | baseload, heating, pumps | 22.04 | 100
49 | 12 | 8 | boiling | baseload, heating, pumps | 95.17 | 100
50 | 12 | 8 | boiling | baseload, heating, pumps | 95.17 | 100
51 | 12 | 8 | boiling | baseload, heating, pumps | 95.17 | 100
52 | 12 | 8 | boiling | baseload, heating, pumps | 95.17 | 100
53 | 13 | 8.6 | prepare for heat exchange | baseload, heating, pump | 67.37 | 100
54 | 13 | 8.6 | heat exchange | baseload, heating, pumps | 67.37
55 | 13 | 8.6 | heat exchange | baseload, heating, pumps | 67.37
56 | 13 | 8.6 | heat exchange | baseload, heating, pumps | 67.37
57 | 14 | 8.6 | heat exchange | baseload, heating, pumps | 67.37
58 | 14 | 8.6 | heat exchange | baseload, heating, pumps | 67.37 | 20
59 | 14 | 8.6 | pump to fermentation | baseload, heating, pumps | 67.37 | 22
60 | 14 | 8.6 | pump to fermentation | baseload, heating, pumps | 67.37 | 22
61 | 15 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
62 | 15 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
63 | 15 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
64 | 15 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
65 | 16 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
66 | 16 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
67 | 16 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
68 | 16 | 8.6 | cleaning | baseload, heating, pumps | 67.37 | 22
69 | 17 | 8.6 | cleaning | baseload, heating, pumps | 67.37
70 | 17 | 8.6 | cleaning | baseload, heating, pumps | 67.37
71 | 17 | 8.6 | cleaning | baseload, heating, pumps | 67.37
72 | 17 | 8.6 | cleaning | baseload, heating, pumps | 67.37
73 | 18 | 8 | pre-heat | cool storage, AC for fermentation chamber, keep boiler working | 67.37
74 | 18 | 8 | pre-heat,refill | cool storage, AC for fermentation chamber, keep boiler working | 67.37
75 | 18 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
76 | 18 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
77 | 19 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
78 | 19 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
79 | 19 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
80 | 19 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
81 | 20 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
82 | 20 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
83 | 20 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
84 | 20 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
85 | 21 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
86 | 21 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
87 | 21 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
88 | 21 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
89 | 22 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
90 | 22 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
91 | 22 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
92 | 22 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
93 | 23 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
94 | 23 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
95 | 23 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
96 | 23 | 4.4 | baseload | cool storage, AC for fermentation chamber, keep boiler working | 0
|  | 153.9 |  |  | 770.695

## Sheet2
Load(kW) | Load(kW)
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8.6 | 15.95 | 7.35
8 | 15.35 | 7.35
8 | 15.35 | 7.35
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
4.4 | 4.4 | 0
153.9 | 242.1

## Sheet3
Load(kW) | int | Heat Load(kW) | total load(kW)
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
8 | 5.1 | 0 | 5.1
8 | 5.1 | 0 | 5.1
8 | 5.1 | 0 | 5.1
8 | 5.1 | 51.62 | 57.2414
8 | 5.1 | 51.62 | 57.2414
8 | 5.1 | 51.62 | 57.2414
8 | 5.1 | 51.62 | 57.2414
8 | 5.1 | 51.62 | 57.2414
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 87.37 | 93.9525
8.6 | 5.7 | 22.04 | 27.9626
8.6 | 5.7 | 22.04 | 27.9626
8.6 | 5.7 | 22.04 | 27.9626
8.6 | 5.7 | 22.04 | 27.9626
8 | 5.1 | 95.17 | 101.2313
8 | 5.1 | 95.17 | 101.2313
8 | 5.1 | 95.17 | 101.2313
8 | 5.1 | 95.17 | 101.2313
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8.6 | 5.7 | 67.37 | 73.7505
8 | 5.1 | 67.37 | 73.1505
8 | 5.1 | 67.37 | 73.1505
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
4.4 | 4.4 | 0 | 4.4
153.9 |  | 770.695 | 897.5798
924.595